## Sheet1
SYNERGY INDUSTRIAL SERVICES PRIVATE LIMITED
63-32-25-25 CONTROL PANEL COSTING
SL. NO. | MATERIAL CODE | JOB/PO N0 | DESCRIPTION | SPECIFICATION | MAKE | QTY. | UOM | RATE (Rs.) | DISCOUNT (%) | TOTAL (Rs.)
1 | 1SDA068769R1 |  | MCCB | 63A, 3P, 50HZ, 18KA MCCB | ABB/SEIMENS/SCHNEIDER | 1 | NOS | 6750 | 65% | 2362.5
2 |  |  |  | MCCB EXTENDED ROTARY HANDEL | ABB/SEIMENS/SCHNEIDER | 1 | NOS | 1860 | 65% | 651
3 | 1SBL931074R8010 |  | POWER CONT | 3 POLE POWER CONTACTOR, 25A, AUX-230VAC | ABB/SEIMENS/SCHNEIDER | 2 | NOS | 2720 | 65% | 1904
4 | 1SYS271012R0254 |  | MCB | 25A, SP, C-TYPE, 10KA, MCB | ABB/SEIMENS | 7 | NOS | 419 | 70% | 879.9
5 | 1SYS272012R0044 |  | MCB | 2A, DP, C-TYPE, 10KA, MCB | ABB/SEIMENS/SCHNEIDER | 1 | NOS | 1790 | 70% | 537
6 | 1SYS271012R0044 |  | MCB | 2A, SP, C-TYPE, 10KA, MCB | ABB/SEIMENS/SCHNEIDER | 1 | NOS | 610 | 70% | 183
7 | 1SFA619403R5231 |  | INDICATION LAMP | CONTROL ON RED LAMP, 240VAC | ABB/SEIMENS | 2 | NOS | 289 | 55% | 260.1
8 |  |  | CONTROL TRAFO | 415/240VAC, 100VA, CONTROL TRANSFORMER, RESIN CAST TYPE | GUPTA/ MR | 1 | NOS | 2950 | 0% | 2950
9 |  |  | SELECTOR SWITCH | 3 POSITION, ILLUMINATED SELECTOR SWITCH WITH RED LAMP BLOCK, 240V AC | TEKNIC | 3 | NOS | 515 | 20% | 1236
10 |  |  |  | 1NO CONTACT BLOCK | TEKNIC | 6 | NOS | 80 | 20% | 384
11 | TC-513 |  | TEMP CONTROLLER | TEMPERATURE CONTROLLER, AUX- 240VAC | SELEC | 2 | NOS | 2369 | 53% | 2226.86
12 |  |  | POWER SOCKET | 415VAC, 32A, 5 PIN POWER SOCKET WITH PLUG , IP-44 | ABB/ SCHNEIDER/ PCE | 2 | NOS | 1990 | 31% | 2746.2
13 |  |  | POWER SOCKET | 415VAC, 63A, 5 PIN POWER SOCKET WITH PLUG , IP-44 | ABB/ SCHNEIDER/ PCE | 1 | NOS | 8145 | 31% | 5620.05
14 | SE-06-16S 10P |  | PT100 SOCKET | 3PIN, CONTROL PLUG | SEE LINKAGES | 2 | NOS | 211 | 0% | 422
15 | SE-CC-06-16 |  | PT100 SOCKET | 3PIN, CONTROL PLUG PROTECTION CAP | SEE LINKAGES | 2 | NOS | 62 | 0% | 124
16 | SE-02-16S 10S |  | PT100 SOCKET | 3PIN, CONTROL SOCKET | SEE LINKAGES | 2 | NOS | 119 | 0% | 238
17 | SE-CC-02-16 |  | PT100 SOCKET | 3PIN, CONTROL SOCKET PROTECTION CAP | SEE LINKAGES | 2 | NOS | 60 | 0% | 120
18 |  |  |  | LIFTING HANDEL | REPUTED | 2 | NOS | 45 | 0% | 90
19 | 1380.5 |  | ENCLOSUURE | HXWXD = 380 X 380 X 210 | RITTAL | 1 | NOS | 4500 | 0% | 4500
20 |  |  |  | PANEL MOUNTING C - CHANNEL (40X60X180) |  | 2 | NOS | 150 | 0% | 300
21 |  |  |  | WIRE,CABLE |  | 1 | LOT | 1200 | 0% | 1200
22 |  |  |  | HARDWARE & CONSUMABLE |  | 1 | LOT | 800 | 0% | 800
23 |  |  |  | MANPOWER |  | 1 | LOT | 1000 | 0% | 1000
[6 empty] | TOTAL COSTING |  |  |  | 30734.61